- mmWave Radar - 2200/-

- Velostat Pressure sheets - 600 per sheet

- Conductive electrode tape - 450 per roll

- Load cells 50 kg - 100 per unit

- Thermal Camera Module - 5000/-

- Raspberry Pi 5 (8 GB) - 20000/-

- Raspberry Pi 5 Active Cooler - 520/-

- SanDisk Extreme 64 GB A2 - 2800/-

- Raspberry Pi 5 Official Power Supply - 1200/-

- ESP32 Development Board - 450/-

- HX711 Load Cell ADC Module - 70 per unit

- CD74HC4067 16-Channel Analog Multiplexer - 60 per unit

- ADS1115 16-bit ADC Module - 150 per unit

- Breadboards & Jumper Wires - 400/-

- Passive Components Assortment - 350/-

- Logic Level Converter Module - 40 per unit

- 12 V 5 A Regulated DC Power Supply - 500/-

- LM2596 Adjustable Buck Converter - 50 per unit

- SANDISK 1TB Portable SSD (Only this one available) - 15000/- (IS THIS REALLY NECESSARY? CANT WE STORE DATE IN A LAPTOP OR COMPUTER OR CLOUD)

- CH340 USB-to-UART Debug Cable - 175/-

- Raspberry Pi 5 Protective Case - 1000/-

- CP2102 USB-to-UART Module (LD6002 config) - 120/-

- Foam Mattress - 2000/-

- Hospital Bed / Metal Cot - 5000/-

- Headboard Radar Mount Bracket - 500/-

- Overhead Thermal Camera Arm - 500/-

- Load Cell Mounting Footpad Plates - 700/-

Things to consider:

- MLX90640 IR thermal camera breakout (7Semi or Waveshare variant) : Skin Temperature vs. Core Temperature: The sensor measures surface skin temperature, which is highly subject to environmental variables like room draft, sweat, and distance. It does not natively calculate internal core body temperature. Low Spatial Resolution: At a grid size of 32×24 pixels, a subject must stand very close to the lens for their face to cover enough pixels to get an accurate, un-averaged reading. Lack of Medical Certification: The MLX90640 is classified for industrial, smart-home, and automotive use. It is not an FDA-approved or CE-certified medical device. Suggested: Melexis MLX90614 (DCI or BCC Variant). Check which one is better suited for our purpose.